The final project is to be a USB controlled Electronic DC load, with the following features:

1. Current range of "5A -15mA".( to be verified)
2. Voltage range of "50V-1mV".( to be verified)
3. Connecting to a USB port as a serial device.
4. Controlled via an application GUI throw the serial port.
5. Powered via USB. (to be verified)
6. Has the four basic modes: CC, CV, CR, and CW.
7. Data logging in any mode.
8. External triggering.
9. Output functions, initially square wave.

Communications of data internally between functions and externally:

1. Static
   1. Average rate
   2. Maximum rate
   3. Peak rate
2. Dynamic(FIFO):
   1. Average rate
   2. Maximum rate
   3. Peak rate

Timing:

1. Total execution time of the main function.
2. Rate of execution with a tolerance of ….+-. (to be added to the function list)
3. Response time with a tolerance of ….+- . (to be added to the function list)

Preliminary list of system modes:

1. Idle mode:
2. Error mode:

Priority list: (for function execution)

1. Idle mode:
   1. High priority:
      1. …….
      2. ………
   2. Medium priority:
      1. …….
   3. Low priority:
      1. …….

Mode execution based on the following triggering events table:

|  |  |  |
| --- | --- | --- |
| Original Mode | Next Mode | Triggering Event |
| Powered down | Error | Initial power up |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

Housekeeping functions ( has no particular priorty and execution time )